[image: image1.png]0

§GONTEG

Smart touch





[image: image3.png]0

§C‘,ONTEG

Smart touch



[image: image4.png]



1. General Information about Z‐Wave
1.1 Safe
Generally, radio systems build a direct link between the transmitter and the receiver. The radio signal is attenuated by every obstacle along its path (in the household e.g. wall, furniture etc). In the worst case the radio system ceases to function. The advantage of the intelligent Z-Wave system is the so-called routing function. This product can be included and operated in any Z-Wave network with other Z-Wave certified devices from other manufacturers and/or other applications. All non-battery operated nodes within the network will act as repeaters regardless of vendor to increase reliability of the network.
1.2 Communicative

Z-Wave is a bidirectional radio system. This means that a signal is not just sent but also a feedback confirming the reception of the signal occurs automatically.  The safety of transmission of the Z-Wave radio-bus-technology is comparable with that of a wire-linked bus system.  It is likewise possible to determine the switching status by pushing a button: Has the cellar light been definitely switched off?
1.3 Trouble—free

Z-Wave transmits at a regulated frequency band with a frequency of 916 MHz. Every Z-Wave network has its own unique network identification. Therefore, it is possible to operate two or more independently operating networks in a room or home without any interference. Troubles that can be caused by other devices, as is the case in open, non-regulated frequencies (e.g. 433 MHz) are excluded.
1.4 Established

Although the Z-Wave technology is new, it has already developed to form a technical standard. Renowned manufacturers from various fields offer solutions and applications that are based on Z-Wave technology and compatible among one another. This makes the system fit for the future and promises further upgrade phases. Further information can be found on www.z-wave.com.
1.5 Dynamic

Z-Wave is equipped with a dynamic network structure. Right from the start, the position of the individual Z-Wave device that is supplied with 230 Volts is monitored and automatically updated in the case of changes. As a means of which it is possible to continuously adapt the network to its individual requirements, wholly automatically without the necessity of any programming tasks.
2. Before Installation/Setup
Please read carefully the enclosed user manual before the in order to ensure an error-free functioning. The product is permitted only for proper use as specified in the user manual. Any kind of guarantee claim has to be forfeited if changes, modifications or painting are undertaken. The product must be checked for damages immediately after unpacking. In the case of damages, the product must not be operated in any case. If a danger-free operation of the equipment cannot be assured, the voltage supply has to be immediately interrupted and the equipment has to be protected from unintended operation.
3. Product Description
The Da Vinci wall controller is a Multi Chanel Z-Wave device that contains up to 6 relays and up to 9 touch buttons that can be set to control either the relays or any other on/off (SWITCH_BINARY) Z-Wave device.
4. Installation
The device can be mounted into every GEWISS 3 or 4 gang.
[image: image2.png]Netural

Device line: 110 - 230 VAC

Line jumper for the relays (4)
Relays Input (12 - 230 VAC)

Relays output (The output
number is accordance to the
touch button number)

2> A31N31vd

3

OVA 082011

4





5. Functions/operation
5.1 Add / Remove from network
Press the #1 button 3 times.
5.2 Reset of the device

Double Press the following buttons in the 

Following order 8,1,3.
5.3 
Basic command
Basic command is same as Switch binary command.
The basic set command is used to change to status of buttons 1-9.
Values:  

0x01..0x63 / 0xFF – Turn on

0x00 – Turn off



5.4 Association groups
5.4.1 Root device
	Group #
	Associated endpoint
	Max Nodes
	Execute command class

	1
	
	5
	Lifeline

	2
	1
	5
	SWITCH_BINARY_SET

	3
	1
	5
	SWITCH_BINARY_REPORT 

	4
	2
	5
	SWITCH_BINARY_SET

	5
	2
	5
	SWITCH_BINARY_REPORT 

	6
	3
	5
	SWITCH_BINARY_SET

	7
	3
	5
	SWITCH_BINARY_REPORT 

	8
	4
	5
	SWITCH_BINARY_SET

	9
	4
	5
	SWITCH_BINARY_REPORT 

	10
	5
	5
	SWITCH_BINARY_SET

	11
	5
	5
	SWITCH_BINARY_REPORT 

	12
	6
	5
	SWITCH_BINARY_SET

	13
	6
	5
	SWITCH_BINARY_REPORT 

	14
	7
	5
	SWITCH_BINARY_SET

	15
	7
	5
	SWITCH_BINARY_REPORT 

	16
	8
	5
	SWITCH_BINARY_SET

	17
	8
	5
	SWITCH_BINARY_REPORT 

	18
	9
	5
	SWITCH_BINARY_SET

	19
	9
	5
	SWITCH_BINARY_REPORT 


5.4.2 Endpoints

Endpoint 1:

	Group
	Profile
	Command class
	Group name

	1
	Control : Button 1
	CENTRAL_SCENE_NOTIFICATION
	Button 1 via lifeline

	2
	Control : Button 1
	SWITCH_BINARY_SET
	On/Off control (Button 1)

	3
	Control : Button 1
	SWITCH_BINARY_REPORT
	On/Off Report (Button 1)


Endpoint 2:

	Group
	Profile
	Command class
	Group name

	1
	Control : Button 2
	CENTRAL_SCENE_NOTIFICATION
	Button 1 via lifeline

	2
	Control : Button 2
	SWITCH_BINARY_SET
	On/Off control (Button 2)

	3
	Control : Button 2
	SWITCH_BINARY_REPORT
	On/Off Report (Button 2)


Endpoint 3:

	Group
	Profile
	Command class
	Group name

	1
	Control : Button 3
	CENTRAL_SCENE_NOTIFICATION
	Button 1 via lifeline

	2
	Control : Button 3
	SWITCH_BINARY_SET
	On/Off control (Button 3)

	3
	Control : Button 3
	SWITCH_BINARY_REPORT
	On/Off Report (Button 3)


Endpoint 4:

	Group
	Profile
	Command class
	Group name

	1
	Control : Button 4
	CENTRAL_SCENE_NOTIFICATION
	Button 1 via lifeline

	2
	Control : Button 4
	SWITCH_BINARY_SET
	On/Off control (Button 4)

	3
	Control : Button 4
	SWITCH_BINARY_REPORT
	On/Off Report (Button 4)


Endpoint 5:

	Group
	Profile
	Command class
	Group name

	1
	Control : Button 5
	CENTRAL_SCENE_NOTIFICATION
	Button 5 via lifeline

	2
	Control : Button 5
	SWITCH_BINARY_SET
	On/Off control (Button 5)

	3
	Control : Button 5
	SWITCH_BINARY_REPORT
	On/Off Report (Button 5)


Endpoint 6:

	Group
	Profile
	Command class
	Group name

	1
	Control : Button 6
	CENTRAL_SCENE_NOTIFICATION
	Button 6 via lifeline

	2
	Control : Button 6
	SWITCH_BINARY_SET
	On/Off control (Button 6)

	3
	Control : Button 6
	SWITCH_BINARY_REPORT
	On/Off Report (Button 6)


Endpoint 7:

	Group
	Profile
	Command class
	Group name

	1
	Control : Button 7
	CENTRAL_SCENE_NOTIFICATION
	Button 7 via lifeline

	2
	Control : Button 7
	SWITCH_BINARY_SET
	On/Off control (Button 7)

	3
	Control : Button 7
	SWITCH_BINARY_REPORT
	On/Off Report (Button 7)


Endpoint 8:

	Group
	Profile
	Command class
	Group name

	1
	Control : Button 8
	CENTRAL_SCENE_NOTIFICATION
	Button 8 via lifeline

	2
	Control : Button 8
	SWITCH_BINARY_SET
	On/Off control (Button 8)

	3
	Control : Button 8
	SWITCH_BINARY_REPORT
	On/Off Report (Button 8)


Endpoint 9:

	Group
	Profile
	Command class
	Group name

	1
	Control : Button 9
	CENTRAL_SCENE_NOTIFICATION
	Button 9 via lifeline

	2
	Control : Button 9
	SWITCH_BINARY_SET
	On/Off control (Button 9)

	3
	Control : Button 9
	SWITCH_BINARY_REPORT
	On/Off Report (Button 9)


5.5 Supported Command Classes
· Association Command Class(V2)

· Association Group Information Command Class(V1)

· Basic Command Class (V1)

· Binary Switch Command Class (V1)

· Central Scene Command Class (V1)

· Device Reset Locally Command Class (V1)

· Manufacturer Specific Command Class (V1)

· Multi Channel Command Class (V4)

· Multi Channel Association Command Class (V3)
· Powerlevel Command Class (V1)
· Version Command Class (V2)
· Z-Wave Plus Info Command Class (V2)
5.6 Z‐Wave Device Types
• Generic: On/Off Power Switch - Device Type

• Specific: Wall Controller
6. Technical data
· Frequency: 908.40 MHz

· Dimensions: 10 x 8 x 40 mm

· Association Groups: 19
· Operating temperature: 0°C to +75°C
Z-Wave Wall Controller


DA_VINCI_Z-WAVE: Wall Controller





Firmware Version 1.1













