







 HS1SA-Z
Z-Wave Device

Guide Document
  [image: image1.png]



1-Device Inclusion

-  Click [Add] icon in Z-Wave PC Controller Program.
-  Press the Net_Button 3 times within 1.5s, Green LED is Blinking 3 times within 1 second.
-  If Inclusion Process is successful, Green led will turn off.

2-Device Exclusion

-  Click [Remove] icon in Z-Wave PC Controller Program

-  Press the Net_Button 3 times within 1.5s 

-  If Exclusion Process is successful, Green led is Blinking 6 times, then turn off.
3-Device test mode 
if Inclusion process is successful, Press Test_Button to test if the device is working normally. Red LED blinks 3 times when smoke is detected.

4-Device detection mode 
if Inclusion process is successful, the device will report alarm information if detect the status change of smoke and no smoke . Red LED blinks quickly when smoke is detected.
5-Device Factory Reset

-Long press Net_Button while installing batteries in HS1SA-Z. 

- Device Reset Locally notification is Transmitted.

-Please use this procedure only when the network primary controller is missing or otherwise 

inoperable.
6-Association & Association Group Information

-  Lifeline between controller and HS1SA-Z
- Supported command classes

Battery report, Notification report, and Device Reset Locally notification, Binary report.
- Maximum supported nodes are 5.

- Association Group description
Association group 1: Lifeline association group
Include command classes: Battery report, Notification report, and Device Reset Locally notification, Binary report.

▶ Association group 2: Root Device group(Binary Sensor)

Binary Sensor Command Class: Compatible with 300 series

Binary Sensor reports status of smoke or no smoke via Lifeline.

2-When the sensor detects status change between smoke and no smoke, the device will be triggered. 

▶Association group 3: Root Device group(Notification)

Notification reports reports status of detect smoke or no smoke via Lifeline.

When the sensor detects status change between smoke and no smoke, the device will be triggered.  

7-Notification Report

-Press or release test button, or smoke status is changed(smoke detected or no smoke detected) , Notification Report is transmitted

	Notification Type 
	Event

	Smoke Alarm

(0x01)
	Previous Events cleared

( 0x00)

	
	Smoke detected,

Unknown Location(0x02)


8-Battery Report
-  Battery Report is transmitted when power on the device.
-  Battery Report is transmitted once a day.
-  Battery Report is transmitted when the battery falls less than 10%
-

	Battery Voltage
	Battery Level

	2.4V ~ 3.0V
	10~ 100 (%)

	Under 2.4V  
	0xFF


9-Wake up Notification

-  Wake up Notification is transmitted every 24 hours by default.

-  Wake up Notification is transmitted after Notification Report is Transmitted
10-Devices from multiple manufacturers in one network

-  This product can be included and operated in any Z-Wave network with

other Z-Wave certified devices from other manufacturers and/or other

applicants. All non-battery operated nodes within the network will act as

repeaters regardless of vendor to increase reliability of the network.
11-Z-Wave Specifications

 ■Device Type : Sensor - Notification

■Role Type : RSS (Reporting Sleeping Slave)

■Command Class Support/Control

 ▶Z-Wave plus info

 ▶Version

 ▶Manufacture Specific

 ▶Notification

 ▶Device Reset Locally

 ▶Association Group Information
▶Association

 ▶Battery

 ▶Wake Up

 ▶Power Level

▶Binary Sensor
12-Indicate LED statues description-

	status
	LED status
	Alarm sound

	Normal 
	Red LED flash every 53s
	        No sound

	Test mode
	Red LED flash quickly
	Sound“Di-Di-Di”loudly

	Alarm
	Red LED flash quickly
	Sound“Di-Di-Di”loudly

	Silence mode
	Red LED flash 1 time every 10 seconds
	No sound

	Low battery
	Red LED flash 1 time every 53 seconds
	Sound “Di” every 53 seconds

	Fault 
	Red LED flash 2 times every 53 seconds
	Sound “Di” twice every 53 seconds


13-How to replace the batteries
	[image: image2.png]



	Turn right to dismantle the mounting base of the device

	[image: image3.png]



	1)take out battery from the device

2)Insert the battery into the device
( You must be careful of the battery

polarity)

	[image: image4.png]



	Turn left to install the mounting base of the device

(before install the mounting base, you should must insert battery firstly , otherwise the mounting base will not be fixed)


14-Technical Specifications
	Model No.
	HS1SA-Z

	RF frequency
	868.40- 869.85 MHz 

	RF operating distance
	Up to 100m outdoor line of sight

Up to 40m indoor

	Powered by
	1 x CR123A 

	Temperature
	-10℃~ 50℃

	Humidity
	95% max

	Weight
	69.2g (batteries)


Test_Button/LED Indicator





Net_Button









