Alarm.com ADC-470L Z-Wave Documentation

V1.0

February 20, 2017

Alarm.com

8281 Greensboro Drive #100, McLean, VA

Contents

1	Supported Command Classes	2

2	Z-Wave Add and Remove Process	3

2.1	Adding devices to the Alarm.com ADC-470L’s Z-Wave Network	3

2.2	Removing devices from the Alarm.com ADC-470L’s Z-Wave network	4

2.3	Reset Alarm.com ADC-470L to default state	5

2.4	Learning the Alarm.com ADC-470L into another Z-Wave network	5

3	Compatibility with Other Manufacturers’ Z-Wave Devices	6

4	Basic Command Class Handling	6

5	Basic Control with the Basic Command Class	6

5.1	Sending a Basic On or Basic Off Command	6

5.2	Sending a Basic Get Command and Interpreting the Response	6

6	Removing and Replacing Failed Nodes	7

6.1	Removing Failed Nodes	7

6.2	Replacing Failed Nodes	7

7	Multilevel Sensor Control	7

8	Multilevel Switch Control	8

9	Notification V3 Command Class Support	9

10	User Code Command Class Support	9

11	Wake Up Command Class Support	10

12	Association Command Class	10

13	Association Grp Info Command Class Support	10

14	Time Parameters Command Class Control	10

15	Clock Command Class Control	11

16	Configuration Command Class Control	11

17	Schedule Entry Lock Command Class, Version 3	12

18	Firmware Update Meta Data Command Class, Version 1	12

The Alarm.com ADC-470L described in this product manual enables a host of remote controls and features leveraging the Alarm.com cloud and accessible via the Alarm.com Customer Website, the Alarm.com Customer App, the Alarm.com Dealer Website, and Alarm.com’s Mobiletech tool for dealers.

Some features are only available through the Customer Website or through the Dealer Website. Mobiletech and the Alarm.com App both serve as more convenient ways for customers and dealers to access some more commonly used features.

The Alarm.com ADC-470L is a Security Enabled Z-Wave Plus Product.

# Supported Command Classes

The Alarm.com ADC-470L supports the following command classes:

- Application Status Command Class, Version 1

- Association Command Class, Version 2

- Association Group Information Command Class, Version 1

- Controller Replication Command Class, Version 1

- CRC-16 Encapsulation Command Class, Version 1

- Device Reset Locally Command Class, Version 1

- Manufacturer Specific Command Class, Version 1

- Powerlevel Command Class, Version 1

- Security Command Class, Version 1

- Version Command Class, Version 2

- Z-Wave Plus Info Command Class, Version 2

The Alarm.com ADC-470L controls the following command classes:

- Alarm Command Class, Version 1

- Association Command Class, Version 2

- Association Group Information Command Class, Version 1

- Basic Command Class, Version 1

- Battery Command Class, Version 1

- Binary Sensor Command Class, Version 1

- Binary Switch Command Class, Version 1

- Clock Command Class, Version 1

- Configuration Command Class, Version 1

- CRC-16 Encapsulation Command Class, Version 1

- Device Reset Locally Command Class, Version 1

- Door Lock Command Class, Version 1

- Firmware Update Meta Data Command Class, Version 1

- Manufacturer Specific Command Class, Version 1

- Meter Command Class, Version 1

- Multi Channel Command Class, Version 4

- Multi Channel Association Command Class, Version 3

- Multilevel Sensor Command Class, Version 1

- Multilevel Switch Command Class, Version 1

- No Operation Command Class, Version 1

- Notification Command Class, Version 3

- Powerlevel Command Class, Version 1

- Schedule Entry Lock Command Class, Version 3

- Security Command Class, Version 1

- Thermostat Fan Mode Command Class, Version 1

- Thermostat Fan State Command Class, Version 1

- Thermostat Mode Command Class, Version 1

- Thermostat Operating State Command Class, Version 1

- Thermostat Setback Command Class, Version 1

- Thermostat Setpoint Command Class, Version 1

- Time Parameters Command Class, Version 1

- User Code Command Class, Version 1

- Version Command Class, Version 2

- Wake Up Command Class, Version 2

- Z-Wave Plus Info Command Class, Version 2

# Z-Wave Add and Remove Process

## Adding devices to the Alarm.com ADC-470L’s Z-Wave Network

NOTE: This process leverages Network Wide Inclusion. In addition, any controllers added to the Alarm.com ADC-470L will have network information replicated over to them.

- Using Mobiletech

  - Install the MobileTech App (if not already done) and select the customer of interest.

  - Move all Z-Wave devices to their final location on the property.

  - Navigate to the Equipment List page.

  - Select emPower Management.

  - Select Add Z-Wave Devices

  - Wait for the bolded message: Checking for new devices on the network

  - Trigger a device to add it to the network.

  - When a device is added successfully, it will show up on this screen following a 30 second delay.

  - Continue triggering devices. You may add many devices to the network without reentering Add Mode.

- Using the Dealer Website

  - Navigate to the Equipment page.

  - Click the emPower Devices tab.

  - Open the Advanced Z-Wave Commands menu below the Equipment List.

  - Click Add Z-Wave Devices.

  - Wait for the bolded message: Checking for new devices on the network.

  - Trigger a device to add it to the network.

  - When a device is added successfully, it will show up on this screen following a 30 second delay.

  - Continue triggering devices. You may add many devices to the network without reentering Add Mode.

- Using the Panel

  - Press [*] [8], then the installer code, to enter Installer Programming.

  - Enter 851 for Interactive Services.

  - Use the arrow keys to scroll to and select Z-Wave Setup.

  - Use the arrow keys to scroll to and select Add Z-Wave Device.

  - Trigger a device to add it to the network.

  - When a device is added successfully, the panel will beep.

  - You will need to re-enter Add Mode before triggering the next device.

## Removing devices from the Alarm.com ADC-470L’s Z-Wave network

- Using Mobiletech

  - Install the MobileTech App (if not already done) and select the customer of interest.

  - Move all Z-Wave devices you plan to delete close to the Alarm.com ADC-470L.

  - Navigate to the Equipment List page.

  - Select emPower Management.

  - Select Delete Z-Wave Devices

  - Wait for the bolded message: Checking for deleted devices on the network

  - Trigger a device to remove it from the network.

  - When a device is deleted successfully and its network information is erased, it will show up on this screen following a 30 second delay.

  - Continue triggering devices. You may delete many devices to the network without reentering Delete Mode.

- Using the Dealer Website

  - Move all Z-Wave devices you plan to delete close to the Alarm.com ADC-470L.

  - Navigate to the Equipment page.

  - Click the emPower Devices tab.

  - Open the Advanced Z-Wave Commands menu below the Equipment List.

  - Click Delete Z-Wave Devices.

  - Wait for the bolded message: Checking for deleted devices on the network.

  - Trigger a device to remove it from the network.

  - When a device is deleted successfully and its network information is erased, it will show up on this screen following a 30 second delay.

  - Continue triggering devices. You may delete many devices to the network without reentering Delete Mode.

- Using the Panel

  - Press [*] [8], then the installer code, to enter Installer Programming.

  - Enter 851 for Interactive Services.

  - Use the arrow keys to scroll to and select Z-Wave Setup.

  - Use the arrow keys to scroll to and select Remove Z-Wave Device.

  - Trigger a device to clear its network data and remove it from the existing Z-Wave network.

  - The panel will beep when a device has been deleted.

  - You will need to re-enter Delete Mode to delete more devices.

## Reset Alarm.com ADC-470L to default state

NOTE: This function will forcibly clear the Alarm.com ADC-470L’s Z-Wave node identification and will also remove all network information from the ADC-470L. Use this procedure only in the event that the network primary controller is missing or otherwise inoperable

- A Z-Wave factory reset must be triggered from the Alarm.com dealer site

- Navigate to the Equipment page.

- Click the “emPower Devices” tab.

- Open the “Advanced Z-Wave Commands” menu by clicking the button below the Equipment List.

- Towards the bottom next to the “Equipment List Label” text click on the “Reset To Factory Default” button

- Allow 3 minutes for the associated commands to go through and for the ADC-470L to act on them

## Learning the Alarm.com ADC-470L into another Z-Wave network

- Learning in the Alarm.com ADC-470L using the Dealer Site

  - Log in to the Alarm.com Dealer Site

  - Select the customer whose node you wish to remove

  - Navigate to the page to allow sending generic commands. This can be found in the AirFX Remote Toolkit or by navigating to https://alarmadmin.alarm.com/Support/Commands/GenericCommand.aspx

  - Place a controller on the existing network into add mode

  - Send the generic command 5B10030101 to the ADC-470L, once received it will cause the Alarm.com ADC-470L to learn into the existing Z-Wave network and will allow it to cause all relevant network information to be copied over from the controller that was put into add mode.

# Compatibility with Other Manufacturers’ Z-Wave Devices

This product can be included and operated in any Z-Wave network with other Z-Wave certified devices from other manufacturers and/or other applications. All non-battery operated nodes within the network will act as repeaters regardless of vendor to increase reliability of the network.

# Basic Command Class Handling

The basic command class can be sent to the Alarm.com ADC-470L, but it will have no effect.

# Basic Control with the Basic Command Class

## Sending a Basic On or Basic Off Command

- Log in to the Alarm.com Dealer Site

- Select the customer whose node you wish to remove

- Navigate to the page to allow sending generic commands. This can be found in the AirFX Remote Toolkit or by navigating to https://alarmadmin.alarm.com/Support/Commands/GenericCommand.aspx

- The command to send a Basic On command is 5B000000000000000013[NN]032001FF where [NN] is the node’s hexadecimal Node ID.

  - One can confirm that command was sent and that it was executed by navigating to https://alarmadmin.alarm.com/Support/ZWaveEvents.aspx where one can see the command that was sent (in the form described above) in addition to information about when the Alarm.com ADC-470L acknowledged receiving that command.

- The command to send a Basic Off command is 5B000000000000000013[NN]03200100 where [NN] is the node’s hexadecimal Node ID.

  - One can confirm that command was sent and that it was executed by navigating to https://alarmadmin.alarm.com/Support/ZWaveEvents.aspx where one can see the command that was sent (in the form described above) in addition to information about when the Alarm.com ADC-470L acknowledged receiving that command.

- It is possible to send any value with the help of the generic command by replacing the last Byte in the command above with a value within the range of 01 to 63.

## Sending a Basic Get Command and Interpreting the Response

- Log in to the Alarm.com Dealer Site

- Select the customer whose node you wish to remove

- Prior to sending any commands where you want to see the response the Alarm.com ADC-470L receives you should navigate to https://alarmadmin.alarm.com/Support/RuleDiagnostics.aspx and choose to “Forward Panel’s Received Z-Wave Messages to Backend”

- Navigate to the page to allow sending generic commands. This can be found in the AirFX Remote Toolkit or by navigating to https://alarmadmin.alarm.com/Support/Commands/GenericCommand.aspx

- The command to send a Basic Get command is 5B002003000000000013[NN]02200201 where NN is the node’s hexadecimal Node ID.

- Wait one minute. You should get the response in the customer’s event history at https://alarmadmin.alarm.com/Support/Events.aspx which will be of the form 330000000000[NN]002003[XX][CH] where NN is the node’s hexadecimal Node ID, XX is the response to the Basic Get, and CH is a two byte checksum that can be ignored.

# Removing and Replacing Failed Nodes

## Removing Failed Nodes

- Log in to the Alarm.com Dealer Site

- Select the customer whose node you wish to remove

- Navigate to the customer’s Z-Wave equipment list page at https://alarmadmin.alarm.com/Support/DeviceAutomation.aspx

- Ensure that the device you wish to remove is not communicating with the panel. This can be done by powering down the device or moving it far out of range of the Z-Wave network.

- In the table of Z-Wave devices click on the “Delete Device” hyperlink to the right of the device you wish to remove

- Wait one minute. You should get confirmation of the device’s deletion in the customer’s event history at https://alarmadmin.alarm.com/Support/Events.aspx and subsequently the device will be removed from the account’s Z-Wave equipment list.

## Replacing Failed Nodes

- Log in to the Alarm.com Dealer Site

- Select the customer whose node you wish to remove

- Navigate to the page to allow sending generic commands. This can be found in the AirFX Remote Toolkit or by navigating to https://alarmadmin.alarm.com/Support/Commands/GenericCommand.aspx

- Verify that the device is noncommunicative and has failed to respond to at least three commands sent to it. This should ensure that the device is marked as failed.

- At that point send the generic command 5B000001000000000063[NN] to the account where [NN] is the node’s hexidecimal Node ID.

- Wait one minute for the command to go through then trigger the node that you wish to use as a replacement.

# Multilevel Sensor Control

- Multilevel Sensor is only controlled when used with Thermostats and select Temperature Sensors to report temperature values

- To trigger request of temperatures click on the refresh button on a thermostat card on the customer site at https://www.alarm.com/web/Automation/Thermostats.aspx.

- These values can be best seen as temperatures indicated on the Customer Site on the thermostats page at https://www.alarm.com/web/Automation/Thermostats.aspx

- These temperature sensor values can also be seen reported in the Event History on the Dealer Site at https://alarmadmin.alarm.com/Support/Events.aspx.

- Multilevel Sensor reports from all Multilevel Sensors can be seen on our dealer site using the following instructions:

  - In order to set up receiving all Sensor Multilevel messages sent to the panel one must first configure an alert on Sensor Multilevel messages. That can be done by logging in to the dealer site and navigating to the Send Generic Command page at https://alarmadmin.alarm.com/Support/Commands/GenericCommand.aspx. From there you’ll need to input the generic command 5B02AANN310105 where NN is the hexadecimal node ID and AA is the hexadecimal Alert ID. Only assign Alert IDs of 100 (as in 0x64) or higher, and never use a particular alert ID more than once until after applying a Factory Reset. We recommend keeping a table and increasing your alert ID by 1 each time. Note that the Alert IDs used here are shared with the commands used to pass back Notification reports.

  - When Notification CC messages are passed to the backend they can be viewed at https://alarmadmin.alarm.com/Support/ZWaveEvents.aspx and will be of the form 33 02 AA FF Z1 Z2 Z3…ZM where:

    - AA = Alert ID

    - FF = Alert State (either 0x01 or 0x00) – THIS SHOULD BE IGNORED BY YOU

    - Z1 Z2…ZM = actual z-wave report that triggered the alert in z-wave format

  - As noted above, the way to clear out alerts is to perform a Z-Wave Factory Reset

  - Another thing worth noting is that for Sensor Multilevel messages we will only pass reports to the backend (and correspondingly they will only show up on https://alarmadmin.alarm.com/Support/ZWaveEvents.aspx) when the report differs from the last Sensor Multilevel report received from that node.

# Multilevel Switch Control

- Multilevel switches can be controlled from the Customer Site from the Lights and Switches page at https://www.alarm.com/web/Automation/Switches.aspx

- Selecting a level on the dimming bar then clicking the “On” button will set the multilevel light on and to the selected dimming level

- Alternatively if an unrecognized device is learned in one can control Multilevel Switches directly using specific commands. To send these commands log in to the dealer site and navigate to the Send Generic Command page at https://alarmadmin.alarm.com/Support/Commands/GenericCommand.aspx.

- From there send the command 5B000003FE0600000013NN0326010001 to turn off a multilevel switch where NN is the hexadecimal Node ID of the node you wish to switch off.

- To turn on a multilevel switch to a particular dimming level send the command 5B000003FE0600FF0013NN032601LL01 where NN is the hexadecimal Node ID of the device you wish to control and LL is the hexadecimal dimming level you wish to set the device to. Use hexadecimal values for LL from 0x01 to 0x63.

# Notification V3 Command Class Support

- Notification V3 is used by the Alarm.com ADC-470L for control of some recently released locks utilizing that command class. The best example of such a locks are Schlage’s BE468 and BE469 deadbolt locks.

  - Specifically we process Notifications from those locks indicating when the lock was locked, unlocked, has a low battery, or too many attempts were made to unlock the lock with incorrect user codes.

- Control of devices utilizing Notification V3 can best be done on the Customer Site from the locks page at https://www.alarm.com/web/Automation/Locks.aspx

- Evidence that those commands go through can be tracked either by observing the shown state of locks on the Customer Site locks page mentioned above or by examining events in the Dealer Site’s Event History which can be viewed at https://alarmadmin.alarm.com/Support/Events.aspx

- Notification V3 messages can also be used to trigger follow-up commands utilizing Alarm.com’s Rules. These rules can be set up on the customer site at https://www.alarm.com/web/Automation/Rules.aspx.

- Notification reports from all Notification Sensors can be seen on our dealer site using the following instructions:

  - In order to set up receiving all Notification messages sent to the panel one must first configure an alert on Notification messages. That can be done by logging in to the dealer site and navigating to the Send Generic Command page at https://alarmadmin.alarm.com/Support/Commands/GenericCommand.aspx. From there you’ll need to input the generic command 5B02AANN710105 where NN is the hexadecimal node ID and AA is the hexadecimal Alert ID. Only assign Alert IDs of 100 (as in 0x64) or higher, and never use a particular alert ID more than once until after applying a Factory Reset. We recommend keeping a table and increasing your alert ID by 1 each time. Note that the Alert IDs used here are shared with the commands used to pass back Sensor Multilevel reports.

  - When Notification CC messages are passed to the backend they can be viewed at https://alarmadmin.alarm.com/Support/ZWaveEvents.aspx and will be of the form 33 02 AA FF Z1 Z2 Z3…ZM where:

    - AA = Alert ID

    - FF = Alert State (either 0x01 or 0x00) – THIS SHOULD BE IGNORED BY YOU

    - Z1 Z2…ZM = actual z-wave report that triggered the alert in z-wave format

  - As noted above, the way to clear out alerts is to perform a Z-Wave Factory Reset

# User Code Command Class Support

- Using Alarm.com’s customer site customers can set up codes which will be sent to Z-Wave locks on an account

- These user codes can be set up on the Customer Site on the Users page at https://www.alarm.com/web/Users/Users.aspx

- For security reasons when the first user code is programmed from Alarm.com all user codes currently on a Z-Wave lock will be erased. For this reason we encourage installers to only add user codes from the Alarm.com Customer Site and not directly at the lock.

- To add a user code click on a user, ensure they have a valid pin code, and then click on the locks that they should be given access to. Finally click Save.

- Allow at least a minute for each user code to be transmitted to the lock. When this process is complete the user code will no longer be shown as “Pending”

# Wake Up Command Class Support

- Support for the Wake Up command class is enabled using Alarm.com’s rules engine. This requires a series of rules pushed from the cloud when Alarm.com detects that a Wake Up device has been added to the Alarm.com ADC-470L.

- For this reason Wake Up notifications will only be handled properly by the Alarm.com ADC-470L after any locally added Wake Up devices have been reported to the backend. This can take up to 15 minutes, but can be accelerated by using Remote Add or by requesting a Z-Wave Equipment List from the Alarm.com backend.

# Association Command Class

- The Alarm.com ADC-470L keeps a lifeline association group, and it is group 1. We only notify these nodes when the Alarm.com ADC-470L performs a Z-Wave factory reset. When this occurs the ADC-470L sends a DEVICE_RESET_LOCALLY_NOTIFICATION to all associated nodes. If not associations are set up then the notification is broadcast.

- The maximum number of devices supported in group 1 for the Alarm.com ADC-470L is 56.

# Association Group Info Command Class Support

- The Alarm.com ADC-470L’s firmware never requests this command class and does not process these reports

- However, if another device sends ASSOCIATION_GROUP_COMMAND_LIST_GET, ASSOCIATION_GROUP_INFO_GET, or ASSOCIATION_GROUP_NAME_GET messages to the ADC-470L it will respond correctly with the relevant information

# Time Parameters Command Class Control

- Whenever the Alarm.com ADC-470L receives an updated time from Alarm.com’s backend we will use the Time Parameters command class to update the time on any devices that support it. In addition, if the Alarm.com ADC-470L has already received a time from the backend it will forward that time information to devices supporting the Time Parameters Command Class upon learn-in

- The backend sends an updated time to the Alarm.com ADC-470L once a day typically towards the middle of the night Eastern Time

- A panel time can be sent to the ADC-470L on demand by logging in to the Alarm.com dealer site, selecting a customer, going to the AirFX toolkit, clicking on “Panel Time”. Alternatively one can log in to the dealer site, select the customer of interest, then navigate directly to https://alarmadmin.alarm.com/Support/Commands/PanelDateTime.aspx

- On that page press the “Set Time” button to push an updated time to the Alarm.com ADC-470L

# Clock Command Class Control

- Whenever the Alarm.com ADC-470L receives an updated time from Alarm.com’s backend we will use the Clock command class to update the time on any devices that support it. In addition, if the Alarm.com ADC-470L has already received a time from the backend it will forward that time information to devices supporting the Clock Command Class upon learn-in

- The backend sends an updated time to the Alarm.com ADC-470L once a day typically towards the middle of the night Eastern Time

- A panel time can be sent to the ADC-470L on demand by logging in to the Alarm.com dealer site, selecting a customer, going to the AirFX toolkit, clicking on “Panel Time”. Alternatively one can log in to the dealer site, select the customer of interest, then navigate directly to https://alarmadmin.alarm.com/Support/Commands/PanelDateTime.aspx

- On that page press the “Set Time” button to push an updated time to the Alarm.com ADC-470L

# Configuration Command Class Control

- The Configuration command class can be used to set configuration parameters on devices learned into the Alarm.com ADC-470L. It can also be used to read the configuration parameters of a device learned into the Alarm.com ADC-470L.

- To send a Configuration Set log in to the dealer site and navigate to the page that allows sending generic commands. This can be found in the AirFX Remote Toolkit or by navigating to https://alarmadmin.alarm.com/Support/Commands/GenericCommand.aspx. Next send the command 5B000003FE0308080013NNLL7004PPXXVV01 where:

  - NN is the hexadecimal node ID,

  - LL is the hexadecimal length of the Z-Wave command in bytes (exclude the 01 at the end of the command),

  - PP is the hexadecimal value of the configuration parameter you want to change,

  - XX is the hexadecimal length of the configuration parameter you’re going to set in bytes

  - VV is the hexadecimal value you wish to set. Note that this can be more than one byte so long as the length is accounted for in LL and XX

- To send a Configuration Get log in to the dealer site and navigate to the page that allows sending generic commands. This can be found in the AirFX Remote Toolkit or by navigating to https://alarmadmin.alarm.com/Support/Commands/GenericCommand.aspx. Next send the command 5B007006000000000013NN037005PP01 where:

  - NN is the hexadecimal node ID of the node you wish to read the value from

  - PP is the hexadecimal value of the configuration parameter you wish to get

- To see the response to your Configuration Get navigate to https://alarmadmin.alarm.com/Support/ZWaveEvents.aspx. The configuration parameter and its value will be shown.

# Schedule Entry Lock Command Class, Version 3

- The Schedule Entry Lock Command Class V3 is only used currently used with Yale’s Real Living’s Z-Wave locks.

- This command class is used in order to program user codes that only work during specific times on those locks. In order to set this up log in to the customer site and navigate to the Users page at https://www.alarm.com/web/Users/Users.aspx. From there click on the user you wish to add a temporary code for and use the page that pops up to schedule their code for “Limited Access Time” with access to one of Yale’s Real Living locks.

- After pressing Save and waiting a couple minutes the Schedule Entry Lock CC will be used to program that scheduled user code into the lock.

# Firmware Update Meta Data Command Class, Version 1

- The Alarm.com ADC-470L only allows for updating devices where Alarm.com has received and verified an update binary themselves. Currently the only device that Alarm.com has an update available for is the Alarm.com Smart Thermostat.

- In order to send an OTA update to a device that device must first be learned into the Alarm.com ADC-470L. Once it’s learned in contact the Alarm.com CORE to have the OTA sent to the device. The CORE can be contacted by logging in to the dealer site and navigating to the Support Center at https://alarmadmin.alarm.com/Support/Issues/Issue_Summary.aspx

- From there we recommend creating a new issue ticket and inputting the Customer ID of the customer with the device you wish to have updated. For the Category choose “Home Automation” and in the description mention the device that you would like to have updated.

- It may take up to one business day to have the update sent to your device.