







 HS1WL-Z
Z-Wave Device

Guide Document
  [image: image1.png]


  [image: image2.png]



                
1-Device ADD for Inclusion

-  Click [Add] icon in Z-Wave Controller .
-  Press the Function _Button 3 times within 1.5s, Green LED is Blinking 3 times within 1 second.
-  If Inclusion Process is successful, Green LED will turn off.

2-Device Remove Exclusion

-  Click [Remove] icon in Z-Wave Controller
-  Press the Function _Button 3 times within 1.5s 
-  If Exclusion Process is successful, Green LED is Blinking 6 times, then turn off.
3-Device detection mode 
if Inclusion process is successful, the device will report alarm information if having detected status change between water and no water after press Function _Button. Red LED blinks once when sensor detects water or no water.
4-Device Factory Reset

-Long press Function _Button while installing batteries in the product. 
- Device Reset Locally notification is Transmitted.
5-Association & Association Group Information

- Lifeline between controller and the product.
- Supported command classes

Battery report, Notification report, and Device Reset Locally notification, Binary report.
- Association Group description
Association group 1: Lifeline association group
- Maximum supported node is 1.
Include command classes: Battery report, Notification report, and Device Reset Locally notification, Binary report.

▶ Association group 2: Root Device group (Binary Sensor)
 Maximum supported nodes are 5.
Binary Sensor Command Class: Compatible with 300 series

1- Binary Sensor reports status of water or no water via Lifeline.

2- When the sensor detects status change between water and no water, the device will be triggered. 
▶Association group 3: Root Device group (Binary Sensor)
Maximum supported nodes are 5.
Binary Sensor Command Class: Compatible with 300 series
1-Binary Sensor reports the removed status of water sensor.

2-When the sensor detects status change of tamper, the device will be triggered.
▶Association group 4: Root Device group (Notification)
Maximum supported nodes are 5.
1-Notification reports report status of detected water or no water via Lifeline.
2-When the sensor detects status change between water and no water, the device will be triggered.  .

▶Association group 5: Root Device group (Notification)
Maximum supported nodes are 5.
1-Binary Sensor reports the removed status of water sensor.

2- When the sensor detects status change of tamper, the device will be triggered. 
6-Notification Type and Event
-Press Function _button, if water status is changed (water detected or no water detected), Notification Report is transmitted
	Notification Type 
	Event

	Home Security

(0x07)
	Previous Events cleared 
( 0x00)

	
	Tampering, Product covering removed (0x03)

	Water Alarm
( 0x05)
	Previous Events cleared 
( 0x00)

	
	Water Leakage detected, Unknown Location
( 0x02 )


7-Battery Report
-  Battery Report is transmitted when power on the device.
-  Battery Report is transmitted once a day.
-  Battery Report is transmitted when the battery falls less than 10%
-

	Battery Voltage
	Battery Level

	2.4V ~ 3.0V
	10~ 100 (%)

	Under 2.4V  
	0xFF


8-Wake up Notification

-  Wake up Notification is transmitted every 24 hours by default.
9-Devices from multiple manufacturers in one network

-  This product can be included and operated in any Z-Wave network with

other Z-Wave certified devices from other manufacturers and/or other

applicants. All non-battery operated nodes within the network will act as

repeaters regardless of vendor to increase reliability of the network.
10-Z-Wave Specifications

 ■Device Type : Sensor - Notification

■Role Type : RSS (Reporting Sleeping Slave)

■Command Class Support/Control

 ▶Z-Wave plus info_v2
 ▶Version_v2
 ▶Manufacture Specific_v2
 ▶Notification_v7
 ▶Device Reset Locally_v1
 ▶Association Group Information_v1
▶Association_v2
 ▶Battery_v1
 ▶Wake Up_v2
 ▶Power Level_v1
▶Binary Sensor_v2
11-How to replace the batteries
	[image: image3.png]



	Open the cover of the product

	[image: image4.png]



	Insert the batteries on the product

( You must be careful of the battery

polarity)

	[image: image5.png]i
al
- _J 7





	Close the cover of the product


12-Technical Specifications
	Model No.
	HS1WL-Z

	RF frequency
	868.40- 869.85 MHz 

	RF operating distance
	Up to 100m outdoor line of sight

Up to 40m indoor

	Powered by
	2 x AAA 

	Temperature
	-10℃~ 50℃

	Humidity
	95% max

	Weight
	72g (batteries)


Function _Button





LED indicator





Detector plug








